Specifier Notes:  This product guide specification is written according to the Construction Specifications Institute (CSI) 3-Part Format, including MasterFormat, SectionFormat, and PageFormat, as described in The Project Resource Manual—CSI Manual of Practice, Fifth Edition.

This section must be carefully reviewed and edited by the Architect or Engineer to meet the requirements of the project and local building code.  Coordinate this section with other specification sections and the Drawings.  Delete all “Specifier Notes” after editing this section.

Section numbers are from MasterFormat 2010 Update.

SECTION 26 05 33.02

FLEXIBLE CONDUIT RACEWAY SYSTEM (POWER & CABLE MANAGEMENT)

Specifier Notes:  Delete any information below in Parts 1, 2 or 3 which is not required or relevant for the project.

PART 1 – GENERAL

1.01	SUMMARY

- This section includes non-metallic flexible corrugated conduit, couplings and adapter fittings for power and cable (P&C) management.

1.02	REFERENCES

None

1.03	SUBMITTALS

A.	Comply with Section 01 33 00 – Submittal Procedures.

B.	Product Data:

1. 	Submit manufacturer’s descriptive literature and product specifications for each product.

2. 	Manufacturer’s product drawings.

C.	Manufacturer’s installation instructions.

1.04	QUALITY ASSURANCE

A.	Manufacturer Qualifications: Products shall be free of defects in material and workmanship.

  - STORAGE AND HANDLING

- Storage temperature range: -4°F to 158°F

- Handling temperature range: -4°F to 104°F

  - WARRANTY

- Product is warranted free of defects in material and workmanship.

- Product is warranted to perform the intended function within design limits.

PART 2 – PRODUCTS

2.01	GENERAL

A.	The P&C Flex® flexible conduit raceway system shall consist of the following products:

1. 	118__ series flexible conduit

2.	E940_ series couplings

3.	E942_ series female adapters

4.	E943_ series terminal adapters

5.	E997_ series bell ends

6.	P258_ series plugs

7.	VC9992 cement

2.02	MANUFACTURERS

A.	Acceptable Manufacturers:

Thomas & Betts Corporation

8155 T&B Blvd

Memphis, TN 38125

800-816-7809, 901-252-5000

www.tnb.com

Products: 	Carlon® P&C Flex® Corrugated Flexible Conduit

  - DESIGN AND PERFORMANCE REQUIREMENTS

A.	P&C Flex® shall be designed to be used as a flexible sweep or raceway – one catalog item can do

multiple bends.

B.	P&C Flex® shall be UV resistant.

C.	P&C Flex® shall be suitable for direct burial, under bridges, service entrance/FTTx terminations,

manhole terminations, pedestal/enclosure terminations and running up utility poles or outside of buildings.

D.	P&C Flex® shall be available in sizes 3/4" though 4".

E.	P&C Flex® shall be available with pull tape in sizes 1" through 4".

F.	P&C Flex® shall easily handle offsets.

G.	P&C Flex® shall be manufactured to IPS dimensions and be used with standard IPS coupling/fittings.

- P&C Flex® shall be corrugated and of circular cross section.

- P&C Flex® shall have the following performance properties:

Performance Properties 		3/4" 	1" 	11/4"	11/2"	 2"	 21/2"	 3" 	4"

Stiffness F/Δy at 5% deflection	 	200 	200 	200 	200 	200 	130 	130 	90

Impact Strength (Ft./Lbs.) 72° 		35 	40 	40 	50	50 	70 	120 	140

Impact Strength (Ft./Lbs.) 32° 		5 	8 	8 	15 	25 	35 	60 	60

Minimum Bending Radius (inches) 	6 	6	6 	7 	8 	12 	15 	18

Conduit Tensile Strength 		200 	300 	400 	500 	700 	1000 	1500 	2000

PART 3 – EXECUTION

3.01	INSTALLATION

A. 	Install in accordance with manufactures instructions.

B.	Install fittings, boxes accessories, etc as necessary for a complete system.

END OF SECTION