Specifier Notes:  This product guide specification is written according to the Construction Specifications Institute (CSI) 3-Part Format, including MasterFormat, SectionFormat, and PageFormat, as described in The Project Resource Manual—CSI Manual of Practice, Fifth Edition.

This section must be carefully reviewed and edited by the Architect or Engineer to meet the requirements of the project and local building code.  Coordinate this section with other specification sections and the Drawings.  Delete all “Specifier Notes” after editing this section.

Section numbers are from MasterFormat 2010 Update.

SECTION 26 05 33.53

COMMERCIAL GRADE RIGID FITTINGS

Specifier Notes:  Delete any information below in Parts 1, 2 or 3 which is not required or relevant for the project.

PART 1 – GENERAL

1.01	SUMMARY

A.	This section includes fittings for use with Rigid Metal Conduit Type RMC and Intermediate Metal Conduit Type IMC.

B.	Related Sections:

1. 	Section 26 05 33.55 	Industrial Grade Rigid Fittings

1.02	REFERENCES

A.	Underwriters Laboratories, Inc. (UL):

1.	UL514B		Conduit, Tubing and Cable Fittings

B.	National Fire Protection Association (NFPA):

1.  	NFPA 70	 	National Electrical Code (NEC)

1.03	SUBMITTALS

A.	Comply with Section 01 33 00 – Submittal Procedures.

B.	Product Data:

1. 	Submit manufacturer’s descriptive literature and product specifications for each product.

2. 	Manufacturer’s product drawings.

1.04	QUALITY ASSURANCE

A.	Manufacturer Qualifications: Products shall be free of defects in material and workmanship.

B.	Furnished products are listed by third party agencies as suitable for the intended purpose.

  - WARRANTY

- Product is warranted free of defects in material and workmanship

.

- Product is warranted to perform the intended function within design limits.

PART 2 – PRODUCTS

  - GENERAL

- Fittings shall be available in standard trade sizes from 1/2” to 4”, with some available up to 6”.

- Fitting shall employ configurations for threaded and/or threadless conduits

2.02	MANUFACTURERS

A.	Acceptable Manufacturers:

Thomas & Betts Corporation

8155 T&B Blvd

Memphis, TN 38125

800-816-7809, 901-252-5000

www.tnb.com

Products:

- Steel City® Rigid Conduit Fittings

2.03	DESIGN AND PERFORMANCE REQUIREMENTS

- Fittings shall be made from zinc plated steel and/or cast iron.

- Insulated fittings shall have a maximum temperature rating of 105ºC.

B.	All materials shall comply with applicable NEMA Specifications and UL Standards.

C.	Fittings shall be rated for use with 90° C conductors.

D.	Fittings shall carry a UL mark.

E.	Fittings shall be marked in accordance to 110.21 of the NEC and UL514B.

PART 3 – EXECUTION

3.01	INSTALLATION

A.	Installation shall be in accordance with the NEC guidelines where applicable.

END OF SECTION